http://www.fao.org/ag/ca/1a.html
Conservation Agriculture, understood in this way, provides a number of advantages on global, regional, local and farm level: 

· It provides a truly sustainable production system, not only conserving but also enhancing the natural resources and increasing the variety of soil biota, fauna and flora (including wild life) in agricultural production systems without sacrificing yields on high production levels. As CA depends on biological processes to work, it enhances the biodiversity in an agricultural production system on a micro- as well as macro level. 

· No till fields act as a sink for CO2 and conservation farming applied on a global scale could provide a major contribution to control air pollution in general and global warming in particular. Farmers applying this practice could eventually be rewarded with carbon credits. 

· Soil tillage is among all farming operations the single most energy consuming and thus, in mechanized agriculture, air-polluting, operation. By not tilling the soil, farmers can save between 30 and 40% of time, labour and, in mechanized agriculture, fossil fuels as compared to conventional cropping. 

· Soils under CA have very high water infiltration capacities reducing surface runoff and thus soil erosion significantly. This improves the quality of surface water reducing pollution from soil erosion, and enhances groundwater resources. In many areas it has been observed after some years of conservation farming that natural springs that had dried up many years ago, started to flow again. The potential effect of a massive adoption of conservation farming on global water balances is not yet fully recognized. 

· Conservation agriculture is by no means a low output agriculture and allows yields comparable with modern intensive agriculture but in a sustainable way. Yields tend to increase over the years with yield variations decreasing. 

· For the farmer, conservation farming is mostly attractive because it allows a reduction of the production costs, reduction of time and labour, particularly at times of peak demand such as land preparation and planting and in mechanized systems it reduces the costs of investment and maintenance of machinery in the long term.

Disadvantages in the short term might be the high initial costs of specialized planting equipment and the completely new dynamics of a conservation farming system, requiring high management skills and a learning process by the farmer. Long term experience with conservation farming all over the world has shown that conservation farming does not present more or less but different problems to a farmer, all of them capable of being resolved. Particularly in Brazil the area under conservation farming is now growing exponentially having already reached the 10 million hectare mark. Also in North America the concept is widely adopted.
__________________________________________________________________________

http://www.nativeenergy.com/how_we_calculate.html

HOW WE CALCULATE
We believe in transparency as the best way for our customers to be confident in the environmental value of our services.  Our approach is to estimate conservatively, to disclose our estimating methodologies, and to monitor and disclose how our projects perform relative to the estimates we made.  That makes us accountable to the market, and enables us to make better estimates as we learn.

Here are our methodologies:
METHODOLOGY FOR FORECASTING 
LONG-TERM REC GENERATION AND CO2 AVOIDANCE IMPACTS
GRID CONNECTED WIND PROJECTS

REC Generation

We start with the project’s nominal capacity factor based on the project engineer’s best estimates of gross generation (e.g., theoretical performance based on wind data and manufacturer’s power curves), and apply all discounts recommended by project engineer to account for scheduled and expected unscheduled downtime (maintenance and repair), wind turbulence, blade icing and soiling, and related losses or similar efficiency degradation to arrive at the baseline capacity factor.  We require this baseline capacity factor to be consistent with the project pro forma assumptions utilized for the project financing.  We then discount the baseline capacity factor by 5% to insure against any further underproduction risk.  Our final REC generation estimate is determined in accordance with the following formula: 

NGC x 8760 hours/year x DCF x POL

where: 
NGC           =           the project’s nameplate generating capacity
DCF            =            the final discounted capacity factor
POL            =            the project’s assumed operating life, which is the shorter of 25 years or the expected equipment operating life, assuming commercially reasonable maintenance, repair and parts replacement for wear and tear.


CO2 Avoidance

We start with the average fossil CO2 emissions rate for the applicable power control area based on most recent EGRID data.  We then improve the PCA Emissions Rate by 0.8% of the original amount per year over the project’s assumed operating life.  Beginning with the year in which the then-current EIA Annual Energy Outlook shows planned or unplanned capacity increases of fossil generating capacity in the applicable NERC region, we average the annual improving average fossil rate (which represents the emissions rate for the energy the project will displace) with the emissions rate for the first planned or unplanned fossil generating capacity (which represents the emissions rate of marginal generating units whose generating capacity may theoretically be displaced by the project) to derive our assumed long-term average emissions rate.  We then multiply this levelized average emissions rate by the assumed REC generation to determine the expected CO2 reductions the project will produce over its assumed operating life, and allocate appropriate shares of its generating capacity to each customer.

To get a sense of how conservative this is, for the Alex Little Soldier Wind Turbine Project actually to displace energy over its operating life at the average rate of 1,805 Lbs./MWh rate that we assumed, the NERC region average fossil emissions rate would have to improve from the 2,519 lbs./MWh currently estimated by the Dept. of Energy for 2004 (most recent data) to 1,091 lbs./MWh in its 25th year of operations ((2,519 + 1,091) / 2 = 1,805).  That would require the fossil plants feeding that grid to convert from being mostly coal fired to being mostly gas fired by its 25th year (2028) .  The Dept. of Energy’s 2007 Annual Energy Outlook predicts that in 2030, 97.83% of the electricity generated from fossil fuel plants on that grid will be generated by coal fired plants.

 

 

METHODOLOGY FOR FORECASTING 
LONG-TERM REC GENERATION AND CO2 AVOIDANCE IMPACTS
ALASKA MICRO-GRID WIND PROJECTS

REC Generation

We start with the project’s nominal capacity factor based on the project engineer’s best estimates of gross generation (e.g., theoretical performance based on wind data and manufacturer’s power curves), and apply all discounts recommended by project engineer to account for scheduled and expected unscheduled downtime (maintenance and repair), wind turbulence, blade icing and soiling, and related losses or similar efficiency degradation to arrive at the baseline capacity factor.  We require this baseline capacity factor to be consistent with the project pro forma assumptions utilized for the project financing.  We then discount the baseline capacity factor by 5% to insure against any further underproduction risk.  Our final REC generation estimate is determined in accordance with the following formula: 

NGC x 8760 hours/year x DCF x POL

where:
NGC            =            the project’s nameplate generating capacity
DCF            =            the final discounted capacity factor
POL            =            the project’s assumed operating life, which is the shorter of 25 years or the expected equipment operating life, assuming commercially reasonable maintenance, repair and parts replacement for wear and tear.

CO2 Avoidance

Based on the fact that these projects are interconnected to 100% diesel powered micro-grids, we assume that each kWh generated by the wind turbines reduces diesel generation by one kWh.  Based on information from the project developer, these diesel generators produce 13 kWh for each gallon of diesel fuel they burn.  Burning diesel fuel produces 22.3 Lbs. of CO2 per gallon.  As a result, these wind turbines displace 1721 pounds of CO2 per MWh they generate.  To be conservative, we assume that this rate will stay constant over the projects’ assumed operating lives (25 years for new Northern Power turbines, 20 years for reconditioned turbines), despite the fact that these grid operators fully expect to be required in the next few years to switch to low sulfur diesel, which produces significantly fewer kWh per gallon (and so is significantly more CO2 intensive).

METHODOLOGY FOR FORECASTING 
LONG-TERM REC GENERATION AND CO2 AVOIDANCE IMPACTS
GRID CONNECTED FARM METHANE PROJECTS
We help build manure digesters on farms whose baseline practice is to store their manure in storage ponds, where it is kept pending bi-annual or tri-annual spreading on the fields.  In these storage ponds, all but the very surface of the manure has no access to oxygen, so bacteria that thrive without oxygen decompose the manure, giving off gases including methane (CH4) as a byproduct, which bubble up and enter the atmosphere.  There, methane has 21 times the global warming impact of carbon dioxide.  Each 95¼ pounds of methane can be expressed as one ton of CO2-equivalent, or CO2e.

The farms we work with install anaerobic digester systems in place of the storage ponds.  These are heated, airtight systems that accelerate the decomposition and capture the methane, which the farms then burn to generate electricity and useful heat.  The digested manure is then pumped from the digester to pre-spread storage lagoons, with virtually no future methane off-gassing.  As the CO2 emissions from burning the methane for electricity and heat are equivalent to the CO2 that would have been emitted if the manure was put directly onto the fields, the electricity and thermal energy are considered CO2-neutral.  As a result, the farms create three sources of CO2 or CO2 reductions:

· Reductions from the displacement of electricity from fossil fuels that results from the farms’ generation of electricity and delivery of that electricity to the grid (“Electricity-Based CO2 Reductions”); 

· Reductions from the displacement of the farms’ use of fossil fuels for heating and cooling needs that results from the farms’ capture and use of heat given off by the generators (“Avoided Fossil Fuel CO2 Reductions”); and 

· Reductions from the avoidance, or abatement, of fugitive methane emissions that would have resulted from the farms’ continued pond storage of manure that would have occurred in the absence of the digester (“Methane Abatement CO2e Reductions”) 

Electricity-Based CO2 Reductions
REC Generation

We start with the project’s nominal capacity factor based on the project engineer’s best estimates of gross generation (e.g., theoretical performance based on expected methane generation), and apply all discounts recommended by project engineer to account for scheduled and expected unscheduled downtime (maintenance and repair) and related losses or similar efficiency degradation or losses to arrive at the baseline capacity factor.  We require this baseline capacity factor to be consistent with the project pro forma assumptions utilized for the project financing.  We then discount the baseline capacity factor by 5% to insure against any further underproduction risk.  Our final REC generation estimate is determined in accordance with the following formula: 

NGC x 8760 hours/year x DCF x POL

where:            
NGC            =            the project’s nameplate generating capacity
DCF            =            the final discounted capacity factor
POL            =            the project’s assumed operating life, which is the shorter of 25 years or the expected equipment operating life, assuming commercially reasonable maintenance, repair and parts replacement for wear and tear.


CO2 Avoidance

We start with the average fossil CO2 emissions rate for the applicable power control area based on most recent EGRID data.  We then improve the PCA Emissions Rate by 0.8% of the original amount per year over the project’s assumed operating life.  Beginning with the year in which the then-current EIA Annual Energy Outlook shows planned or unplanned capacity increases of fossil generating capacity in the applicable NERC region, average the annual improving average fossil rate (which represents the emissions rate for the energy the project will displace) with the emissions rate for the first planned or unplanned fossil generating capacity (which represents the emissions rate of marginal generating units whose generating capacity may theoretically be displaced by the project) to derive our assumed long-term average emissions rate.  We then multiply this levelized average emissions rate by the assumed REC generation to determine the expected CO2 reductions the project’s electricity will produce over its assumed operating life, and allocate appropriate shares of its generating capacity to each customer.  (Note – although the project emits CO2 when it burns the methane, that CO2 amount is equivalent to the assumed baseline of field-spreading the manure, so the electricity is assumed to be CO2-neutral).

Avoided Fossil Fuel CO2 Reductions
            Thermal Energy Generation
For those farm methane projects that utilize waste heat from the electricity generator to reduce their consumption of fossil fuels, we start with the project engineer’s best estimates of the BTU’s of recoverable and usable thermal energy and apply all discounts recommended by project engineer to account for scheduled and expected unscheduled downtime (maintenance and repair) and related losses or similar efficiency degradation or losses to arrive at the baseline usable thermal energy capacity.  We require this baseline thermal energy capacity to be consistent with the project pro forma assumptions utilized for the project financing.  We then discount the baseline thermal energy capacity by 5% to insure against any further underproduction risk.  

            CO2 Avoidance
We assume a BTU-for-BTU displacement of the kind of fossil fuel (diesel, propane, etc., based on historic purchase records) that will be displaced by the project’s thermal energy output, over the project’s assumed operating life, and quantify the CO2 avoidance based on the emissions profile (Lbs. CO2/btu) of the displaced fuel. 

Methane Abatement CO2e Reductions
The EPA has developed a methodology listed in U.S. Methane Emissions 1990-2020: Inventories, Projections, and Opportunities for Reductions (EPA 430-R-99-013) (September 1999) for calculating baseline methane emissions from various manure management systems based on factors presented in the 1996 Revised Intergovernmental Panel on Climate Change (IPCC) Guidelines.   

Three principle factors are needed to calculate baseline methane emissions from manure management systems:  Quantity of Manure Volatile Solids; Manure Characteristics; and Manure Management System used.  IPCC Tier II standards require these factors to be specific to country location and animal type and class. The EPA utilizes USDA data and conversion factors from the Natural Resources Conservation Service (NRCS) and provides criteria by state.  The resulting equation in the EPA methodology is:

CH4 = Manureij *  MFijk * VSij * Boj * MCFijk, where:

CH4 = Methane created at baseline
Manureij = total manure produced by animal type j in state i
MFijk = % of manure managed by system k for animal type j in state i
VSij = % of manure that is volatile solids for animal type j in state i
Boj = Maximum methane (CH4) potential of manure for animal type j
MCFik = Methane conversion factor for systems k in state i 

We apply the following formula based on information provided by the farms regarding their baseline number of cows, cow types (milkers, heifers, dry cows), feeding practices and manure handling practices, which we confirm through one or more site visits.  An example for calculating methane emissions from a liquid/slurry storage system (k) for manure from 500 dairy milking cows (j) in Pennsylvania (i) might look like:

CH4 = (80lbs manure /1000# animal weight *500 cows@1400lbs/cow ) *.4536 kg/lb * 100% in system * .1062 (%VS) * 0.24 m3 CH4/kg (Bo) * 0.35  (MCF of liquid/slurry system)

= 226.60 m3 CH4/day = 82,710 m3 CH4/yr = 181,960 m3 CH4*1.4956 lbs/m3 = 123,701 lbs CH4/yr
    
=123,701 lbs CH4 * 21 GHG factor? = 2,597,722 Lbs CO2e

= 1298.86 tons CO2e per year

Note:  The Bo factor of 0.24 m3CH4 and the MCF of .35 are IPCC Tier 2-developed factors that recognize the existing animal diets for North American livestock and the temperate climate zone of Pennsylvania respectively.    

NativeEnergy’s methodology refines this base equation by including the average monthly ambient temperature effect, by county location, on the speed of manure decomposition in the lagoon using the van’t Hoff-Arrhenius equation from the EPA’s 2003 Annex M to calculate the effective MCF:  

f = exp[E*(T2-T1)/(R*T1*T2)] 
where:

f             Conversion efficiency of Vs to CH4 per month.
E             Activation energy constant (15,175 cal/mol).
T2           Ambient temperature (Kelvin) for the climate, by county (NOAA data).
T1           303.16 (273.16° + 30°) in example of 30° C ambient
R            Ideal gas constant (1.987 cal/ K mol).

Using farm-specific data, we also reflect the tempering effect on fugitive methane production of the daily loading of raw manure into the lagoon and the semi-annual or scheduled unloading for field spreading. 

Once we have determined the expected annual CO2e reductions pursuant to the foregoing, we then apply the following discounts:

· a non-cumulative 5% discount to each year’s assumed volume to account for potential methane leakage from the digester 

· a cumulative annual 5% discount to the 20-year stream of reductions to account for the potential mainstreaming of the technology 

Back to the top 
__________________________________________________________

